# CYNGOR CYMUNED LLANISMEL

ST ISHMAEL COMMUNITY COUNCIL

Cadeirydd / Chair:

Cllr Alicia Dalton

Julie Rees

Hafan Dawel

Mynydd Cerrig

Llanelli

Carmarthenshire

SA15 5BD

Tel. 07825 003648

Ebost / e-mail: clerk@stishmaelscc.org.uk

www.stishmaelscc.org.uk

PUBLIC NOTICE

## TENDER 4 – MUGA DRAINAGE

TENDERS are invited for the IMPROVEMENT of the drainage and subsequent CLEARING and REMOVAL (all waste to be disposed of appropriately) of the surrounding area of the Multi Use Games Area (MUGA) on the Pale Field, Ferryside by 30th November 2023.

- A French Drain (approx. 12 inches wide and 4 inches deep) be installed on the length of both sides of the MUGA.

- A sump (approx. 2m x 2m and 1m deep) to be placed at the far end of the MUGA with connection to both sides of the French drains.

- The sump should be filled with clean stone and have a suitable covering.

- An overflow pipe should be connected to the sump to run from the MUGA into the woods to encourage away excess water.

- The surface pipe running into the wooded area should be covered in stone.

- It should be noted that all works specified should be carried out while maintaining the integrity of the electricity cables and some work may need to be done by hand in certain areas.

- The site and surrounding area should be left clean and tidy.

- All relevant health and safety guidance should be followed and risk assessments carried out.

The Tenders must be returned to the undersigned no later than 5.00 p.m. 28th August 2023, in a sealed envelope clearly marked “TENDER”.  Any envelope not so endorsed will not be considered.

The Council does not bind itself to accept the lowest or any tender and payment will not be made until works have been completed, inspected, and approved.

Tender price quoted should be net of VAT and the VAT status of the person submitting the Tender must be made known to the Council with the VAT number provided where appropriate.

Tenderers are invited to propose a stage payment plan if required.

A copy of a current Public Liability Policy must be submitted with the Tender

A copy of a current Waste Carriers Licence must be submitted with the Tender.

PAYMENT MAY BE AFFECTED IF THE FOLLOWING CONDITIONS ARE NOT MET:

- Contractor must notify the Clerk once the work is completed.

- Any substandard works notified to the contractor following inspection must be rectified at the earliest opportunity.

- Should the Community Council be dissatisfied with the standard of work, the Community Council would be able to cancel the contract at any time.

Julie Rees

Clerk